## Slide 1: INCORPORATING CYSTATIN C IN ROUTINE LABORATORY TESTING FOR CHRONIC KIDNEY DISEASE
Fazila Mahomed
Chesna Godson-Katchew
LABNALYTIX

## Slide 2: Introduction
The non-glycosylated basic protein, cystatin C (molecular weight 13.2 kD), is produced at a constant rate in nearly every nucleated cell in the human body
It is freely filtered through a normal glomerular membrane and is then reabsorbed and almost entirely catabolized in the proximal tubules. Hence, the cystatin C concentration in human blood is closely related to Glomerular Filtration Rate (GFR)
A reduction in the GFR causes a rise in the concentration of cystatin C. The cystatin C concentration has not been shown to be significantly influenced by other factors such as muscular mass, inflammatory diseases, gender, age or diet.

## Slide 3
Increased sensitivity and accuracy for changes in true GFR , specifically at higher eGFR values.
When used in combination with serum creatinine, provides a more precise estimate of glomerular filtration rate (eGFR) than using serum creatinine alone.

## Slide 4: Case Study
A healthy 60-year-old man with a baseline sCr of 1.1 mg/dl (eGFRcr=77 ml/min per 1.73 m2), was admitted for injuries related to a motor vehicle accident.
On presentation, the patient had a creatine kinase level of >20,000 IU/L, with non-oliguric acute kidney injury (AKI) from rhabdomyolysis. He was treated with intravenous fluids.
Although the patient’s myalgia and creatine kinase were improving, his sCr rose to 7.1 mg/dl over the ensuing days. His only electrolyte derangement was an elevated serum phosphorus level of 6.4 mg/dl, and his urine output remained robust.
The nephrology team was asked whether the patient required dialysis initiation on the basis of his seemingly worsening kidney function; however, a concurrent CysC level at his peak sCr level was 1.2 mg/L, suggesting a much better kidney function. The measuring range of the Gentian Cystatin C Immunoassay is 0.49-7.07 mg/L

## Slide 5: Discussion
Because sCr derives from muscle metabolism, rhabdomyolysis leads to significant elevations in sCr that do not necessarily reflect underlying kidney injury.
Moreover, due to sCr’s distribution in total body water versus CysC’s distribution in extracellular fluid and differences in how they are handled by kidney tubules, CysC levels reach steady state much faster than sCr; thus, CysC may reflect changes in GFR more quickly and accurately in this clinical context.
More studies are needed to evaluate CysC’s potential role in early detection of AKI and monitoring kidney function during prolonged hospitalizations during which sCr may decline due to diminished physical activity and worsened nutritional status.

## Slide 6
Over the past 15 years it has been well established that cystatin C is an independent predictor of morbidity and mortality in a variety of populations.
It has been associated with progression to end stage renal disease and mortality in patients with diabetes, acute kidney injury, CKD, and on dialysis.
It can detect renal dysfunction and predict mortality in liver patients, including those with liver cirrhosis, acute-on-chronic liver failure, and liver transplant recipients. Cystatin C has also been associated with mortality in patients with COPD, stroke, and HIV.
The largest body of work, however, has been examining the association between cystatin C and cardiovascular disease. Rising cystatin C values are associated with the development and progression of cardiovascular disease (CVD), independent of renal function and other cardiovascular risk factors.
Cystatin C also has been found to hold prognostic value for procedure related outcomes, critical illness, and CVD and all cause mortality in both CVD patients and the general population. There is physiologic plausibility of this relationship, as cystatin C is an inhibitor of cysteine proteases and has been found to be directly involved in the atherosclerotic process.

## Slide 7: Non-GFR determinants of creatinine and cystatin C
Creatinine | Cystatin C
Muscle mass/physical activity | Steroids
Dietary protein intake | Thyroid dysfunction
Functional status (i.e., frailty) | Adiposity
Factors affecting tubular creatinine secretion (e.g., medications) | Inflammation
https://doi.org/10.1080/14737159.2020.1768849

## Slide 8
 | Creatinine | Cystatin C
Biomarker Generation | Race/ethnicity other than US and European black and white Gender Age Extremes of muscle mass Extremes of body size High protein diet Ingesting cooked meat Creatine supplements Muscle wasting diseases Limb amputation | Race/ethnicity other than US and European black and white Gender Age Disorders of thyroid function Administration of corticosteroids Inflammation and high cell turnover states Common genetic variants
Tubular Secretion | Drug-induced inhibition by trimethoprim, cimetidine, fenofibrate Tubular secretion increased in CKD | None identified
Assay Interference | Spectral interferences (bilirubin, some drugs) Chemical interferences (glucose, ketones, bilirubin, some drugs) | Heterophilic antibodies
Table 1 https://doi.org/10.1080/14737159.2020.1768849
Non-GFR determinants of serum creatinine and cystatin C

## Slide 9: Pros of cystatin C vs creatinine
CysC is produced constantly by all nucleated cells, freely filtered at the glomerulus, and metabolized in the proximal tubule. Although both sCr and CysC are affected by non-GFR factors, CysC appears to be affected by fewer factors and is influenced to a lesser extent than sCr.
sCr levels are known to be affected by age, sex, muscle mass, physical activity, nutritional status, and protein intake, whereas systemic inflammation, adiposity, thyroid disease, and steroid use have been reported as non-GFR determinants of CysC.

## Slide 10: Patient Awareness
Chronic kidney disease (CKD) is common and increasing worldwide , particularly in the setting of increasing obesity, diabetes mellitus, and hypertension.
The prevalence was found to be consistently 11–13% globally, with higher rates in women than men and in high-income countries compared to low-income countries.
Unfortunately, patient awareness of impaired renal function is strikingly low, even among those patients with advanced stage 4 CKD.
Early diagnosis and treatment are significant in reducing the known morbidity and mortality associated with chronic kidney disease. Thus, it is important that the field continue to optimize methods to accurately diagnose patients with impaired renal function.

## Slide 11: A Monitoring Perspective of Chronic Kidney Disease in Patients with Diabetes
Chronic kidney disease (CKD) is a microvascular complication that frequently affects numerous patients diagnosed with diabetes.
For the diagnosis of CKD, the guidelines recommend the identification of the urinary albumin/creatinine ratio and the determination of serum creatinine, based on which the estimated rate of glomerular filtration (eGFR) is calculated. Serum creatinine is routinely measured in clinical practice and reported as creatinine-based estimated glomerular filtration rate (eGFRcr).
It has enormous importance in numerous clinical decisions, including the detection and management of CKD, the interpretation of symptoms potentially related to this pathology and the determination of drug dosage.

## Slide 12
The equations based on cystatin C involve smaller differences between race groups compared to GFR estimates based solely on creatinine. The cystatin C-based estimated glomerular filtration rate (eGFRcys) or its combination with creatinine (eGFRcr-cys) are suggested as confirmatory tests in cases where creatinine is known to be less precise or where a more valid GFR estimate is necessary for medical decisions.
Serum creatinine is influenced by numerous factors: age, gender, race, muscle mass, high-protein diet, including protein supplements, and the use of medications that decrease tubular creatinine excretion (H2 blockers, trimethoprim, fenofibrate, ritonavir, and other HIV drugs).
The low levels of creatinine stemming from a vegetarian diet, limb amputation, and conditions associated with sarcopenia such as cirrhosis, malnutrition, and malignancies may lead to inaccurately lower eGFRcr values.
Therefore, determining the GFR based on serum creatinine is not very precise. This review aims to identify a new perspective in monitoring renal function, considering the disadvantages of determining the GFR based exclusively on serum creatinine

## Slide 13: Limitations in Using Cystatin C
The 2019 General Chemistry Survey by the College of American Pathologists indicated that only 7% of US clinical laboratories offered cystatin C tests and over 90% of these referred the testing to external commercial labs.(Availability)
Cystatin C testing costs around GBP 2.50 (USD 3.00) per test, which is about 10 times higher than the GBP 0.25 (USD 0.30) cost of creatinine testing. (Cost)
Cystatin C measurement costs more than creatinine testing, but it is less expensive than other common laboratory tests, such as brain natriuretic peptide, troponin, parathyroid hormone, or vitamin D and significantly cheaper than mGFR testing .
Absence of education provided about cystatin C
Lack of institutional guidelines and policies
Placement of cystatin C results within the electronic health record
Proficiency with serum creatinine versus unfamiliarity with cystatin C

## Slide 14: Advantages
Serum cystatin C is an earlier and more accurate biomarker of GFR than creatinine in many patient populations.
Cystatin C is independently associated with cardiovascular disease, end stage renal disease, and all-cause mortality.
The new IFCC-calibrated reagent has made standardization of cystatin C values across clinical laboratories and the creation of universal GFR estimation equations possible.
Clinical laboratories should strive to standardize their approach and broaden availability of this assay.
The cost and long-term benefits of routine cystatin C monitoring and earlier diagnosis of renal impairment and cardiovascular risk with cystatin C is worth thoughtful prospective investigation.

## Slide 15: Future Potential Use of CysC
The growing availability of CysC testing offers an opportunity to evaluate its use beyond that of a confirmatory test for eGFRcr. Emerging research implicates that CysC may have additional value when measured longitudinally within an individual and in the context of transplant nephrology. Chen et al.
Among individuals with CKD, those with a faster decline in eGFRcys relative to eGFRcr had higher risk of progression to ESKD and mortality compared with individuals in whom the two eGFRs declined in parallel. If replicated by other studies, these findings suggest that CysC may identify individuals whose CKD progression could be underappreciated due to the stability of sCr in the setting of worsening overall health.
CysC may have a role in facilitating earlier kidney transplant waitlist registration in some individuals with high-risk CKD and help mitigate racial disparities in kidney transplantation. Although racial disparities in predialysis accruable waiting time between Black and White people in the CRIC Study were not alleviated by the use of eGFRcys , CysC may help identify individuals with a higher risk of ESKD irrespective of race.
In addition, the use of eGFRcys may identify potential kidney transplant donors at risk for the development of CKD. In the perioperative period, CysC appeared to predict delayed graft function better than sCr in a retrospective China-based study. A few small studies including stable kidney transplant recipients found that CysC-based equations more closely approximated mGFR than sCr-based equations; however, these studies were performed before the CKD-EPI eGFRcys equation was created .

## Slide 16: Conclusion
There is a growing body of evidence suggesting that the use of cystatin C is valuable in both diagnosing and managing CKD. Compared with serum creatinine, cystatin C is more precise in detecting initial stages of CKD and in predicting adverse outcomes such as kidney failure, cardiovascular disease and mortality.
A recent comprehensive study of 400 000 participants conducted within the UK Biobank revealed that incorporating both eGFRcys and eGFRcreat-cys alongside traditional risk factors for atherosclerotic diseases significantly improved the accuracy of predictions for overall mortality, as well as fatal and nonfatal cardiovascular disease. Interestingly, the inclusion of eGFRcys demonstrated the most significant enhancement in distinguishing these risks, whereas the addition of eGFR based on creatinine did not contribute to improved discrimination
While serum creatinine remains the cornerstone biomarker due to its widespread availability and cost-effectiveness, cystatin C offers greater sensitivity due to less influence by factors such as muscle mass and diet.
Future research should explore how cystatin C could be combined with other emerging biomarkers to enhance diagnostic accuracy, risk stratification, and therapeutic monitoring. For example, combining cystatin C with markers of inflammation, fibrosis, and cardiovascular health could provide a more holistic view of a patient’s condition and guideline more personalized treatment approaches.

## Slide 17: References
Clinical Kidney Journal, 2024, vol. 17, no. 9
sfae268 https:/doi.org/10.1093/ckj/sfae268 Advance Access Publication Date: 29 August 2024
Kidney Int Rep (2024) 9, 3596–3599; https://doi.org/10.1016/j.ekir.2024.10.003
Mizdrak, M.; Kumri ́c, M.; Kurir, T.T.; Boži ́c, J. Emerging Biomarkers for Early Detection of Chronic Kidney Disease. J. Pers. Med. 2022, 12, 548. [CrossRef]
Jung, C.Y.; Yoo, T.H. Pathophysiologic Mechanisms and Potential Biomarkers in Diabetic Kidney Disease. Diabetes Metab. J. 2022,46, 181–197. [CrossRef] [PubMed]
Canney, M.; Sexton, D.J.; O’Leary, N.; Healy, M.; Kenny, R.A.; Little, M.A.; O’seaghdha, C.M. Examining the utility of cystatin C as a confirmatory test of chronic kidney disease across the age range in middle-aged and older community-dwelling adults. J.Epidemiol. Community Health 2018, 72, 287–293. [CrossRef]

## Slide 18: References
Chew JS, Saleem M, Florkowski CM, et al. Cystatin C--a paradigm of evidence based laboratory medicine. Clin Biochem Rev. 2008. May;29(2):47–62. [PMC free article] [PubMed] [Google Scholar]
Voskoboev NV, Larson TS, Rule AD, et al. Importance of cystatin C assay standardization. Clinical chemistry. 2011;57(8):1209–1211. [DOI] [PubMed] [Google Scholar]
Krolewski AS, Warram JH, Forsblom C, et al. Serum concentration of cystatin C and risk of end-stage renal disease in diabetes. Diabetes Care. 2012;35(11):2311–2316. [DOI] [PMC free article] [PubMed] [Google Scholar]
Ide H, Iwase M, Fujii H, et al. Comparison of cystatin C-and creatinine-based estimated glomerular filtration rates for predicting all-cause mortality in Japanese patients with type 2 diabetes: the Fukuoka Diabetes Registry. Clinical and experimental nephrology. 2017;21(3):383–390. [DOI] [PubMed] [Google Scholar]